Procurement of: inspection and control vessel

RFB No: MNE-MIDAS2-8820-ME-RFB-G-25-2.2.3.

Subject:  Clarifications #1

Dear All,

With respect to the tender procedure for Laboratory equipment for National Referent Phytosanitary Laboratory, RFB No: MNE-MIDAS2-8820-ME-RFB-G-25-2.2.3., please find bellow the first set of answer to the question submitted by prospective bidder:

| Seq. no: | Questions | Ref to the Bidding Documents | Answers | Category |
| --- | --- | --- | --- | --- |
| 1. | Question 1. Item 1, Fluorescence microscope -Is it acceptable to offer FN22? it is bigger than FN18 - Which objectives you exactly need, plan achromat or Plan fluorite (UPLFLN- better for fluorescence due to higher resolution and more expensive) and which magnifications you need (you need 20x or not?) - Is LED fluorescence light source acceptable, since fluorescence using mercury burner is old technology? - which commercial dyes will you use (DAPI, FITC, TRITC …)? Dyes will dictate which filter cubes should we choose for this configuration. | Bidding Document, Section VII - Schedule of Requirements, 3. Technical Specifications | Answer 1. Offered goods must be in accordance with technical specification | Clarification |
| 2. | Question 2. "3.1 Qualification Criteria (/TB 37.1) ( e) Manufacturers authorization: A Bidder who does not manufacture an item/s where a manufacturer authorization is required in accordance with BDS /TB 1 7.2 (a), the Bidder shall provide evidence of being duly authorized by a manufacturer (Manufacturer 's Authorization Form, Section IV, Bidding Forms), meeting the criteria in (d) (i) and (ii) above, to supply the Goods; " Please clarify the following: 1. For this point (e) Manufacturer's authorization: do we only submit the authorization given on the form in Section IV, Bidding Forms? | Bidding document, 2. Section III - Evaluation and Qualification Criteria | Answer 2. Bidder is obliged to submit authorization in accordance with requirements in the bidding document. | Clarification |
| 3. | Question 3. Is it acceptable to offer a microscope with the following changes in the specification: Fluorescent microscope: - Is it appropriate to offer a microscope with a condenser with an NA value of 0.9? Since it is a fluorescent microscope, we believe that a condenser is not necessary for the specified microscopy method (episcopic). Fluorescent microscope and high-magnification microscope: - Is it appropriate to offer microscopes weighing 8-10 kg? We believe that this has no impact on the functionality of the microscope, since a weight of 8-10 kg is completely sufficient for stability when working on the microscope. | Bidding Document, Section VII - Schedule of Requirements, 3. Technical Specifications | Answer 3. Offered goods must be in accordance with technical specification | Clarification |

Please inform us upon receipt, that you received these Clarifications.

Sincerely,

Mirko Ljesevic

Senior Procurement Officer

Technical Service Unit

81000 Podgorica, Montenegro

e-mail: tsu@epa.org.me